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	Risk Identification:
	Identification and traceability issues due to change of serial number in  the calibration report of the temperature gauge.


	


Risk associated with provision of Services and Service-related Products

	                                                              
	Rating
	Likelihood
	Description
	Decision

	1
	Very low
	Rare incident that could occur once in 5 years in the operating life of the facility.
	1

	2
	Low
	An incident that could  occur once in 3 years in the operating life of the facility
	

	3
	Medium
	An incident that  could occur once in 2 years in the operating life of the facility
	

	4
	High
	An incidents that could occur a few times  a year in the operating life of the facility
	

	5
	Very high
	Repeated incidents that could occur several times in a year in the operating life of the facility
	



Enter the likelihood rating in the appropriate decision box. Very Low =1, Low =2, Medium=3,  High =4 and Very High -5

	



	02
	Impact of risks associated provision of products and services
	

	
	Rating
	Impact
	Description
	Decision

	1
	Very Low
	Has no impact on provision of products and Services 
	

	2
	Low
	Has slight impact on provision of products and Services
	

	3
	Moderate
	Has moderate impact on provision of products and Services
	

	4
	High
	Has high impact on provision of products and Services
	

	5
	Very high
	Has very high impact on provision of products and Services
	5



Enter the impact rating in the appropriate decision box. Impact Rating: Very Low =1, Low =2, Medium=3,  High =4 and Very High -5

	

	03 RISK Rating

The rating of the risk is determined by multiplying the value of the likelihood of the risk occurring by the impact of the risk on product quality and delivery to customers. This will be carried out for each assessed risk and the risk rated as Not Significant, Moderate or Significant.

	








Risk Rating Table
	Assessed Likelihood
	Impact of Occurrence
	Risk Score
	Risk 
Significance
Rating

	
	Very Low=1
	Low=2
	Moderate =3
	High =
4
	Very High=
5
	
	

	Very Low=1
	
	
	
	
	
	1
	Moderate

	Low- 2
	
	
	
	
	
	
	

	Medium -3
	
	
	
	
	
	
	

	High-4
	
	
	
	
	
	
	

	Very high=5
	
	
	
	
	
	
	





                 

                                       Risk Rating Table
	Assessed Likelihood
	Impact of Occurrence 
	Risk Score
	Risk 
Significance
Rating

	
	Very Low=1
	Low=2
	Moderate =3
	High =
4
	Very High=5
	
	

	
1

	
-
	
-
	
-
	
-
	
5
	
5
	Medium





L- Likelihood of occurrence 
I= Impact of occurrence

Low Risk=1-4       Medium Risk=5-14       High Risk=15-25





                        Justification for assessment and rankingThe likelihood of serial number of gauges changing is low as this incident occurs rarely in the company but the impact on provision of services to customers is high the risk ranking is moderate as a personnel will be put in place to prevent the chances of occurrence
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