| INSERT LOGO | SDWA LIMITED | Doc ID SDWA-QF-5.3 |
| --- | --- | --- |
|  |  | Rev 01 |
|  | TITLE: RISK ASSESSMENT FORM | Date. 24th May, 2026 |

| Risk Identification: | Identification and traceability issues due to change of serial number in the calibration report of the temperature gauge. |
| --- | --- |

Risk associated with provision of Services and Service-related Products

Rating; Likelihood; Description; Decision. 1; Very low; Rare incident that could occur once in 5 years in the operating life of the facility.; 1. 2; Low; An incident that could occur once in 3 years in the operating life of the facility. 3; Medium; An incident that could occur once in 2 years in the operating life of the facility. 4; High; An incidents that could occur a few times a year in the operating life of the facility. 5; Very high; Repeated incidents that could occur several times in a year in the operating life of the facility. Enter the likelihood rating in the appropriate decision box. Very Low =1, Low =2, Medium=3, High =4 and Very High -5

| 02 | Impact of risks associated provision of products and services |  |
| --- | --- | --- |
| Rating; Impact; Description; Decision. 1; Very Low; Has no impact on provision of products and Services. 2; Low; Has slight impact on provision of products and Services. 3; Moderate; Has moderate impact on provision of products and Services. 4; High; Has high impact on provision of products and Services. 5; Very high; Has very high impact on provision of products and Services; 5. Enter the impact rating in the appropriate decision box. Impact Rating: Very Low =1, Low =2, Medium=3, High =4 and Very High -5 |
| 03 RISK Rating The rating of the risk is determined by multiplying the value of the likelihood of the risk occurring by the impact of the risk on product quality and delivery to customers. This will be carried out for each assessed risk and the risk rated as Not Significant, Moderate or Significant. |  |  |

Risk Rating Table

| Assessed Likelihood | Impact of Occurrence |  |  |  |  | Risk Score | Risk Significance Rating |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Very Low=1 | Low=2 | Moderate =3 | High = 4 | Very High= 5 |  |  |
| Very Low=1 |  |  |  |  |  | 1 | Moderate |
| Low- 2 |  |  |  |  |  |  |  |
| Medium -3 |  |  |  |  |  |  |  |
| High-4 |  |  |  |  |  |  |  |
| Very high=5 |  |  |  |  |  |  |  |

Risk Rating Table

| Assessed Likelihood | Impact of Occurrence |  |  |  |  | Risk Score | Risk Significance Rating |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Very Low=1 | Low=2 | Moderate =3 | High = 4 | Very High=5 |  |  |
| 1 | - | - | - | - | 5 | 5 | Medium |

L- Likelihood of occurrence

I= Impact of occurrence

Low Risk=1-4       Medium Risk=5-14       High Risk=15-25

Justification for assessment and ranking

The likelihood of serial number of gauges changing is low as this incident occurs rarely in the company but the impact on provision of services to customers is high the risk ranking is moderate as a personnel will be put in place to prevent the chances of occurrence

Risk assessed by:                   		             Signature                   		Date: