| Requested By |  | Date: 23 /7 / 2024 |
| --- | --- | --- |
| Department |  | Signature |

Define and document the proposed change.

To change the serial number on the Temperature Gauge Calibration Report to tally with what was inscribed on the Equipment; From SWDA/MSF/MSG/003 TO SWDA/MFS/ SD/003

REASONS FOR THE CHANGE

To correct the serial number error on the temperature gauge calibration report to tally with the serial number the equipment to meet management system requirement

POTENTIAL RISKS ASSOCIATED WITH CHANGE

Itemize potential risks associated with the change

- Challenges with identification and traceability due to poor communication.

ASSESSMENT OF POTENTIAL RISKS ASSOCIATED WITH CHANGE

Rate the risk as Low, Moderate or High, using the Risks and Opportunities Assessment Form (TCN-QF-4.1.4A))

| Risk | Impact of the change |  |  |  |
| --- | --- | --- | --- | --- |
|  | High | Medium | Low | Risk Rating |
| High |  |  |  |  |
| Medium |  |  |  | 5 |
| Low |  |  |  |  |

CHANGE REQUEST CONSIDERATION AND DECISION

Tick the appropriate box and comment on the basis of the decision

Provide more information x Accepted Rejected Deferred

APPROVAL

| Approved by |  | Date | 23/07/24 |
| --- | --- | --- | --- |
| Title |  | Signature |  |

CHANGE IMPLIMENTATATION TEAM

List members of the change management team

| Name | Title | Signature | Date |
| --- | --- | --- | --- |

IMPLEMENTATION

Record change activities actions taken and their effectiveness submitted to Management Representative for presentation at the management meeting.

The serial number correction has been made on the calibration report effective date 24/07/2024

NOTIFICATION OF CHANGE

Notify relevant personnel, including the customer when required by contract, of the change and residual or new risk due to changes that have either been initiated by the organization or requested by the customer

User department has been notified of the correction made.

CHANGE CLOSE-OUT

Change is closed-out by

| Name: | Signature: | Date: 25/07/24 |
| --- | --- | --- |